## Generation
Product Information | Column B | Column C | Column D | Column E | Column F | Column G | Column H | Column I | Column J | Column K | Column L
LCT Register Reference Number | Date Submitted (DD/MM/YYYY) | Effective To (DD/MM/YYYY) | Manufacturer | Model | Model Reference | Device Type | Phases | Rated Output AC Current (A) | Rated Output Power (kVA) | Software Version | Hardware Version
21-018-0001 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-S Series | ASW1000S-S | Micro-generator | 1 | 5 | 1.15 | V1.0 | V1.0
21-018-0002 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-S Series | ASW1500S-S | Micro-generator | 1 | 7.5 | 1.725 | V1.0 | V1.0
21-018-0003 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-S Series | ASW2000S-S | Micro-generator | 1 | 10 | 2.3 | V1.0 | V1.0
21-018-0004 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-S Series | ASW3000S-S | Micro-generator | 1 | 13.6 | 3.128 | V1.0 | V1.0
21-018-0005 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S Series | ASW3000-S | Micro-generator | 1 | 15 | 3.45 | V1.0 | V1.0
21-018-0006 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S Series | ASW3680-S | Micro-generator | 1 | 16 | 3.68 | V1.0 | V1.0
21-018-0007 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S Series | ASW4000-S | Micro-generator | 1 | 20 | 4.6 | V1.0 | V1.0
21-018-0008 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S Series | ASW5000-S | Micro-generator | 1 | 22.7 | 5.221 | V1.0 | V1.0
21-018-0009 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-G2 Series | ASW1000-S-G2 | Micro-generator | 1 | 5 | 1.15 | Main DSP Software version: V610-01055-03. Slave DSP Software version: V610-01056-03 | 270-100100-00
21-018-0010 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-G2 Series | ASW1500-S-G2 | Micro-generator | 1 | 7.5 | 1.725 | Main DSP Software version: V610-01055-03. Slave DSP Software version: V610-01056-03 | 270-100100-00
21-018-0011 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-G2 Series | ASW2000-S-G2 | Micro-generator | 1 | 10 | 2.3 | Main DSP Software version: V610-01055-03. Slave DSP Software version: V610-01056-03 | 270-100100-00
21-018-0012 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-G2 Series | ASW2500-S-G2 | Micro-generator | 1 | 12.5 | 2.875 | Main DSP Software version: V610-01055-03. Slave DSP Software version: V610-01056-03 | 270-100100-00
21-018-0013 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-G2 Series | ASW3000-S-G2 | Micro-generator | 1 | 15 | 3.45 | Main DSP Software version: V610-01055-03. Slave DSP Software version: V610-01056-03 | 270-100100-00
21-018-0014 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-G2 Series | ASW3680-S-G2 | Micro-generator | 1 | 16 | 3.68 | Main DSP Software version: V610-01055-03. Slave DSP Software version: V610-01056-03 | 270-100100-00
21-018-0015 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-G2 Series | ASW4000-S-G2 | Micro-generator | 1 | 20 | 4.6 | Main DSP Software version: V610-01055-03. Slave DSP Software version: V610-01056-03 | 270-100100-00
21-018-0016 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW S-G2 Series | ASW5000-S-G2 | Micro-generator | 1 | 25 | 5.75 | Main DSP Software version: V610-01055-03. Slave DSP Software version: V610-01056-03 | 270-100100-00
21-018-0017 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW LT-G2 Pro Series | ASW3K-LT-G2 Pro | Micro-generator | 3 | 4.8 | 3.3255 | Main DSP Software version: V610-03043-06. Slave DSP Software version: V610-60015-00 | V1.0
21-018-0018 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW LT-G2 Pro Series | ASW4K-LT-G2 Pro | Micro-generator | 3 | 6.4 | 4.4341 | Main DSP Software version: V610-03043-06. Slave DSP Software version: V610-60015-00 | V1.0
21-018-0019 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW LT-G2 Pro Series | ASW5K-LT-G2 Pro | Micro-generator | 3 | 8 | 5.5426 | Main DSP Software version: V610-03043-06. Slave DSP Software version: V610-60015-00 | V1.0
21-018-0020 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW LT-G2 Pro Series | ASW6K-LT-G2 Pro | Micro-generator | 3 | 9.6 | 6.6511 | Main DSP Software version: V610-03043-06. Slave DSP Software version: V610-60015-00 | V1.0
21-018-0021 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW LT-G2 Pro Series | ASW8K-LT-G2 Pro | Micro-generator | 3 | 12.8 | 8.8681 | Main DSP Software version: V610-03043-06. Slave DSP Software version: V610-60015-00 | V1.0
21-018-0022 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW LT-G2 Pro Series | ASW10K-LT-G2 Pro | Micro-generator | 3 | 16 | 11.0851 | Main DSP Software version: V610-03043-06. Slave DSP Software version: V610-60015-00 | V1.0
21-018-0023 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-S2 Series | ASW3000H-S2 | Micro-generator | 1 | 13.6 | 3.128 | V1.0 | V1.0
21-018-0024 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-S2 Series | ASW3680H-S2 | Micro-generator | 1 | 16 | 3.68 | V1.0 | V1.0
21-018-0025 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-S2 Series | ASW4000H-S2 | Micro-generator | 1 | 18.2 | 4.186 | V1.0 | V1.0
21-018-0026 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-S2 Series | ASW5000H-S2 | Micro-generator | 1 | 22.7 | 5.221 | V1.0 | V1.0
21-018-0027 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T2 Series | ASW05kH-T2 | Micro-generator | 3 | 8 | 5.5426 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0028 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T2 Series | ASW06kH-T2 | Micro-generator | 3 | 9.6 | 6.6511 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0029 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T2 Series | ASW08kH-T2 | Micro-generator | 3 | 12.8 | 8.8681 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0030 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T2 Series | ASW10kH-T2 | Micro-generator | 3 | 16 | 11.0851 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0031 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T2 Series | ASW05kH-T2-O | Micro-generator | 3 | 8 | 5.5426 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0032 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T2 Series | ASW06kH-T2-O | Micro-generator | 3 | 9.6 | 6.6511 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0033 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T2 Series | ASW08kH-T2-O | Micro-generator | 3 | 12.8 | 8.8681 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0034 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T2 Series | ASW10kH-T2-O | Micro-generator | 3 | 16 | 11.0851 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0035 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T3 Series | ASW08kH-T3 | Micro-generator | 3 | 12.8 | 8.8681 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0036 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T3 Series | ASW10kH-T3 | Micro-generator | 3 | 16 | 11.0851 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0037 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T3 Series | ASW08kH-T3-O | Micro-generator | 3 | 12.8 | 8.8681 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-018-0038 | 2025-02-19 |  | AISWEI Technology Co., Ltd. (Solplanet) | ASW H-T3 Series | ASW10kH-T3-O | Micro-generator | 3 | 16 | 11.0851 | Master Software version: V610-05001-01. Slave Software version: V610-60015-00 | V1.0
21-017-0001 | 2024-12-10 |  | Fronius | Fronius Primo GEN24 3.0 (Plus) | Fronius Primo GEN24 3.0 (Plus) | Micro-generator | 1 | 13 | 2.99 | 2.19.6 or higher
21-017-0002 | 2024-12-10 |  | Fronius | Fronius Primo GEN24 3.6 (Plus) | Fronius Primo GEN24 3.6 (Plus) | Micro-generator | 1 | 16 | 3.68 | 2.19.6 or higher
21-017-0003 | 2024-12-10 |  | Fronius | Fronius Primo GEN24 4.0 (Plus) | Fronius Primo GEN24 4.0 (Plus) | Micro-generator | 1 | 17.4 | 4.002 | 2.19.6 or higher
21-017-0004 | 2024-12-10 |  | Fronius | Fronius Primo GEN24 5.0 (Plus) | Fronius Primo GEN24 5.0 (Plus) | Micro-generator | 1 | 21.7 | 4.991 | 2.19.6 or higher
21-017-0005 | 2024-12-10 |  | Fronius | Fronius Symo GEN24 6.0 (Plus) | Fronius Symo GEN24 6.0 (Plus) | Micro-generator | 3 | 8.7 | 6.0275 | 2.15.3 or higher
21-017-0006 | 2024-12-10 |  | Fronius | Fronius Symo GEN24 8.0 (Plus) | Fronius Symo GEN24 8.0 (Plus) | Micro-generator | 3 | 11.6 | 8.0367 | 2.15.3 or higher
21-017-0007 | 2024-12-10 |  | Fronius | Fronius Symo GEN24 10.0 (Plus) | Fronius Symo GEN24 10.0 (Plus) | Micro-generator | 3 | 14.5 | 10.0459 | 2.15.3 or higher
21-025-0001 | 2024-12-11 |  | Goodwe Power Supply Technology Co Ltd | ET G2 Series | GW6000-ET-20 | Micro-generator | 3 | 8.7 | 6.0275
21-025-0002 | 2024-12-11 |  | Goodwe Power Supply Technology Co Ltd | ET G2 Series | GW8000-ET-20 | Micro-generator | 3 | 11.6 | 8.0367
21-025-0003 | 2024-12-11 |  | Goodwe Power Supply Technology Co Ltd | ET G2 Series | GW10K-ET-20 | Micro-generator | 3 | 14.5 | 10.0459
21-039-0001 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3K-S2-W-PX | HS3-3K-S2-W-PX | Micro-generator | 1 | 13.0435 | 3 | V0.126 | V1.0
21-039-0002 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3K-S2-W-BX | HS3-3K-S2-W-BX | Micro-generator | 1 | 13.0435 | 3 | V0.126 | V1.0
21-039-0003 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3K-S2-G-PX | HS3-3K-S2-G-PX | Micro-generator | 1 | 13.0435 | 3 | V0.126 | V1.0
21-039-0004 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3K-S2-G-BX | HS3-3K-S2-G-BX | Micro-generator | 1 | 13.0435 | 3 | V0.126 | V1.0
21-039-0005 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3.6K-S2-W-PX | HS3-3.6K-S2-W-PX | Micro-generator | 1 | 15.6522 | 3.6 | V0.126 | V1.0
21-039-0006 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3.6K-S2-W-BX | HS3-3.6K-S2-W-BX | Micro-generator | 1 | 15.6522 | 3.6 | V0.126 | V1.0
21-039-0007 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3.6K-S2-G-PX | HS3-3.6K-S2-G-PX | Micro-generator | 1 | 15.6522 | 3.6 | V0.126 | V1.0
21-039-0008 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3.6K-S2-G-BX | HS3-3.6K-S2-G-BX | Micro-generator | 1 | 15.6522 | 3.6 | V0.126 | V1.0
21-039-0009 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-4K-S2-W-PX | HS3-4K-S2-W-PX | Micro-generator | 1 | 17.3913 | 4 | V0.126 | V1.0
21-039-0010 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-4K-S2-W-BX | HS3-4K-S2-W-BX | Micro-generator | 1 | 17.3913 | 4 | V0.126 | V1.0
21-039-0011 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-4K-S2-G-PX | HS3-4K-S2-G-PX | Micro-generator | 1 | 17.3913 | 4 | V0.126 | V1.0
21-039-0012 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-4K-S2-G-BX | HS3-4K-S2-G-BX | Micro-generator | 1 | 17.3913 | 4 | V0.126 | V1.0
21-039-0013 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-5K-S2-W-PX | HS3-5K-S2-W-PX | Micro-generator | 1 | 21.7391 | 5 | V0.126 | V1.0
21-039-0014 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-5K-S2-W-BX | HS3-5K-S2-W-BX | Micro-generator | 1 | 21.7391 | 5 | V0.126 | V1.0
21-039-0015 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-5K-S2-G-PX | HS3-5K-S2-G-PX | Micro-generator | 1 | 21.7391 | 5 | V0.126 | V1.0
21-039-0016 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-5K-S2-G-BX | HS3-5K-S2-G-BX | Micro-generator | 1 | 21.7391 | 5 | V0.126 | V1.0
21-039-0017 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-6K-S2-W-PX-IE | HS3-6K-S2-W-PX-IE | Micro-generator | 1 | 25 | 5.75 | V0.126 | V1.0
21-039-0018 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-6K-S2-W-BX-IE | HS3-6K-S2-W-BX-IE | Micro-generator | 1 | 25 | 5.75 | V0.126 | V1.0
21-039-0019 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-6K-S2-G-PX-IE | HS3-6K-S2-G-PX-IE | Micro-generator | 1 | 25 | 5.75 | V0.126 | V1.0
21-039-0020 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-6K-S2-G-BX-IE | HS3-6K-S2-G-BX-IE | Micro-generator | 1 | 25 | 5.75 | V0.126 | V1.0
21-039-0021 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3K-T2-W-PX | HS3-3K-T2-W-PX | Micro-generator | 3 | 4.3301 | 3 | V1.407 | V1.0
21-039-0022 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3K-T2-W-BX | HS3-3K-T2-W-BX | Micro-generator | 3 | 4.3301 | 3 | V1.407 | V1.0
21-039-0023 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3K-T2-G-PX | HS3-3K-T2-G-PX | Micro-generator | 3 | 4.3301 | 3 | V1.407 | V1.0
21-039-0024 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-3K-T2-G-BX | HS3-3K-T2-G-BX | Micro-generator | 3 | 4.3301 | 3 | V1.407 | V1.0
21-039-0025 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-4K-T2-W-PX | HS3-4K-T2-W-PX | Micro-generator | 3 | 5.7735 | 4 | V1.407 | V1.0
21-039-0026 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-4K-T2-W-BX | HS3-4K-T2-W-BX | Micro-generator | 3 | 5.7735 | 4 | V1.407 | V1.0
21-039-0027 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-4K-T2-G-PX | HS3-4K-T2-G-PX | Micro-generator | 3 | 5.7735 | 4 | V1.407 | V1.0
21-039-0028 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-4K-T2-G-BX | HS3-4K-T2-G-BX | Micro-generator | 3 | 5.7735 | 4 | V1.407 | V1.0
21-039-0029 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-5K-T2-W-PX | HS3-5K-T2-W-PX | Micro-generator | 3 | 7.2169 | 5 | V1.407 | V1.0
21-039-0030 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-5K-T2-W-BX | HS3-5K-T2-W-BX | Micro-generator | 3 | 7.2169 | 5 | V1.407 | V1.0
21-039-0031 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-5K-T2-G-PX | HS3-5K-T2-G-PX | Micro-generator | 3 | 7.2169 | 5 | V1.407 | V1.0
21-039-0032 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-5K-T2-G-BX | HS3-5K-T2-G-BX | Micro-generator | 3 | 7.2169 | 5 | V1.407 | V1.0
21-039-0033 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-6K-T2-W-PX | HS3-6K-T2-W-PX | Micro-generator | 3 | 8.6603 | 6 | V1.407 | V1.0
21-039-0034 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-6K-T2-W-BX | HS3-6K-T2-W-BX | Micro-generator | 3 | 8.6603 | 6 | V1.407 | V1.0
21-039-0035 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-6K-T2-G-PX | HS3-6K-T2-G-PX | Micro-generator | 3 | 8.6603 | 6 | V1.407 | V1.0
21-039-0036 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-6K-T2-G-BX | HS3-6K-T2-G-BX | Micro-generator | 3 | 8.6603 | 6 | V1.407 | V1.0
21-039-0037 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-8K-T2-W-PX | HS3-8K-T2-W-PX | Micro-generator | 3 | 11.547 | 8 | V1.407 | V1.0
21-039-0038 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-8K-T2-W-BX | HS3-8K-T2-W-BX | Micro-generator | 3 | 11.547 | 8 | V1.407 | V1.0
21-039-0039 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-8K-T2-G-PX | HS3-8K-T2-G-PX | Micro-generator | 3 | 11.547 | 8 | V1.407 | V1.0
21-039-0040 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-8K-T2-G-BX | HS3-8K-T2-G-BX | Micro-generator | 3 | 11.547 | 8 | V1.407 | V1.0
21-039-0041 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-10K-T2-W-PX | HS3-10K-T2-W-PX | Micro-generator | 3 | 14.4338 | 10 | V1.407 | V1.0
21-039-0042 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-10K-T2-W-BX | HS3-10K-T2-W-BX | Micro-generator | 3 | 14.4338 | 10 | V1.407 | V1.0
21-039-0043 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-10K-T2-G-PX | HS3-10K-T2-G-PX | Micro-generator | 3 | 14.4338 | 10 | V1.407 | V1.0
21-039-0044 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-10K-T2-G-BX | HS3-10K-T2-G-BX | Micro-generator | 3 | 14.4338 | 10 | V1.407 | V1.0
21-039-0045 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-12K-T2-W-PX-IE | HS3-12K-T2-W-PX-IE | Micro-generator | 3 | 15.8771 | 11 | V1.407 | V1.0
21-039-0046 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-12K-T2-W-BX-IE | HS3-12K-T2-W-BX-IE | Micro-generator | 3 | 15.8771 | 11 | V1.407 | V1.0
21-039-0047 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-12K-T2-G-PX-IE | HS3-12K-T2-G-PX-IE | Micro-generator | 3 | 15.8771 | 11 | V1.407 | V1.0
21-039-0048 | 2025-03-05 |  | Guangzhou Sanjing Electric Co., Ltd. | HS3-12K-T2-G-BX-IE | HS3-12K-T2-G-BX-IE | Micro-generator | 3 | 15.8771 | 11 | V1.407 | V1.0
21-015-0001 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-2KTL-L1 | SUN2000-2KTL-L1 | Micro-generator | 1 | 10 | 2.3
21-015-0002 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-3KTL-L1 | SUN2000-3KTL-L1 | Micro-generator | 1 | 15 | 3.45
21-015-0003 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-3.68KTL-L1 | SUN2000-3.68KTL-L1 | Micro-generator | 1 | 16 | 3.68
21-015-0004 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-4KTL-L1 | SUN2000-4KTL-L1 | Micro-generator | 1 | 20 | 4.6
21-015-0005 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-4.6KTL-L1 | SUN2000-4.6KTL-L1 | Micro-generator | 1 | 23 | 5.29
21-015-0006 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-5KTL-L1 | SUN2000-5KTL-L1 | Micro-generator | 1 | 25 | 5.75
21-015-0007 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-3KTL-M0 | SUN2000-3KTL-M0 | Micro-generator | 3 | 5.1 | 3.5334
21-015-0008 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-4KTL-M0 | SUN2000-4KTL-M0 | Micro-generator | 3 | 6.8 | 4.7112
21-015-0009 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-5KTL-M0 | SUN2000-5KTL-M0 | Micro-generator | 3 | 8.5 | 5.889
21-015-0010 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-6KTL-M0 | SUN2000-6KTL-M0 | Micro-generator | 3 | 10.1 | 6.9975
21-015-0011 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-8KTL-M0 | SUN2000-8KTL-M0 | Micro-generator | 3 | 13.5 | 9.3531
21-015-0012 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-3KTL-M1 | SUN2000-3KTL-M1 | Micro-generator | 3 | 5.1 | 3.5334
21-015-0013 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-4KTL-M1 | SUN2000-4KTL-M1 | Micro-generator | 3 | 6.8 | 4.7112
21-015-0014 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-5KTL-M1 | SUN2000-5KTL-M1 | Micro-generator | 3 | 8.5 | 5.889
21-015-0015 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-6KTL-M1 | SUN2000-6KTL-M1 | Micro-generator | 3 | 10.1 | 6.9975
21-015-0016 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-8KTL-M1 | SUN2000-8KTL-M1 | Micro-generator | 3 | 13.5 | 9.3531
21-015-0017 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-5K-MAP0 | SUN2000-5K-MAP0 | Micro-generator | 3 | 8.3 | 5.7504
21-015-0018 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-6K-MAP0 | SUN2000-6K-MAP0 | Micro-generator | 3 | 10 | 6.9282
21-015-0019 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN2000-8K-MAP0 | SUN2000-8K-MAP0 | Micro-generator | 3 | 13.3 | 9.2145
21-015-0020 | 2024-11-29 |  | Huawei Technologies Co., Ltd | SUN5000 Series | SUN5000-8K-MAP0 | Micro-generator | 3 | 13.3 | 9.2145
21-031-0001 | 2025-02-20 |  | Huizhou RoyPow Technology Co., Ltd. | SUN3000S-E/I | SUN3000S-E/I | Micro-generator | 1 | 13.6 | 3.128 | N/A | N/A
21-031-0002 | 2025-02-20 |  | Huizhou RoyPow Technology Co., Ltd. | SUN3600S-E/I | SUN3600S-E/I | Micro-generator | 1 | 16 | 3.68 | N/A | N/A
21-031-0003 | 2025-02-20 |  | Huizhou RoyPow Technology Co., Ltd. | SUN4000S-E/I | SUN4000S-E/I | Micro-generator | 1 | 18.2 | 4.186 | N/A | N/A
21-031-0004 | 2025-02-20 |  | Huizhou RoyPow Technology Co., Ltd. | SUN4600S-E/I | SUN4600S-E/I | Micro-generator | 1 | 20.9 | 4.807 | N/A | N/A
21-031-0005 | 2025-02-20 |  | Huizhou RoyPow Technology Co., Ltd. | SUN5000S-E/I | SUN5000S-E/I | Micro-generator | 1 | 22 | 5.06 | N/A | N/A
21-038-0001 | 2025-03-04 |  | Renac Power Technology Co., Ltd. | R3 Note Series | R3-4K | Micro-generator | 3 | 5.7735 | 4 | V1.19 | V1.0
21-038-0002 | 2025-03-04 |  | Renac Power Technology Co., Ltd. | R3 Note Series | R3-5K | Micro-generator | 3 | 7.2169 | 5 | V1.19 | V1.0
21-038-0003 | 2025-03-04 |  | Renac Power Technology Co., Ltd. | R3 Note Series | R3-6K | Micro-generator | 3 | 8.6603 | 6 | V1.19 | V1.0
21-038-0004 | 2025-03-04 |  | Renac Power Technology Co., Ltd. | R3 Note Series | R3-8K | Micro-generator | 3 | 11.547 | 8 | V1.19 | V1.0
21-038-0007 | 2025-03-04 |  | Renac Power Technology Co., Ltd. | N1 HV Series | N1-HV-3.0 | Micro-generator | 1 | 13.0435 | 3 | V1.15 or higher | V1.0
21-038-0008 | 2025-03-04 |  | Renac Power Technology Co., Ltd. | N1 HV Series | N1-HV-3.68 | Micro-generator | 1 | 16 | 3.68 | V1.15 or higher | V1.0
21-038-0009 | 2025-03-04 |  | Renac Power Technology Co., Ltd. | N1 HV Series | N1-HV-5.0 | Micro-generator | 1 | 21.7391 | 5 | V1.15 or higher | V1.0
21-016-0001 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE-S Series Residential ESS | BluE-S 3680D-M1 | Micro-generator | 1 | 16 | 3.68
21-016-0002 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE-S Series Residential ESS | BluE-S 5000D-M1 | Micro-generator | 1 | 22 | 5.06
21-016-0003 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE-S Series Residential ESS | BluE-S 6000D-M1 | Micro-generator | 1 | 25 | 5.75
21-016-0004 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | E8KT | E8KT | Micro-generator | 1 | 12.8 | 2.944
21-016-0005 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | E10KT | E10KT | Micro-generator | 1 | 16 | 3.68
21-016-0006 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | E12KT | E12KT | Micro-generator | 1 | 19.2 | 4.416
24-016-0007 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE-S Series Residential ESS | BluE-S 3680D-M1+BluE Pack 5.1 | AC-connected batteries | 1 | 16 | 3.68
24-016-0008 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE-S Series Residential ESS | BluE-S 5000D-M1+BluE Pack 5.1 | AC-connected batteries | 1 | 22 | 5.06
24-016-0009 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE-S Series Residential ESS | BluE-S 6000D-M1+BluE Pack 5.1 | AC-connected batteries | 1 | 25 | 5.75
24-016-0010 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | E8KT+BluE Pack 5.1 | E8KT+BluE Pack 5.1 | AC-connected batteries | 1 | 12.8 | 2.944
24-016-0011 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | E10KT+BluE Pack 5.1 | E10KT+BluE Pack 5.1 | AC-connected batteries | 1 | 16 | 3.68
24-016-0012 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | E12KT+BluE Pack 5.1 | E12KT+BluE Pack 5.1 | AC-connected batteries | 1 | 19.2 | 4.416
21-016-0013 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE-G Series | BluE-G 1000S-M1 | Micro-generator | 1 | 4.8 | 1.104
21-016-0014 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE-G Series | BluE-G 1500S-M1 | Micro-generator | 1 | 7.2 | 1.656
21-016-0015 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE-G Series | BluE-G 2000S-M1 | Micro-generator | 1 | 9.6 | 2.208
21-016-0016 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE-G Series | BluE-G 3000S-G2-M1 | Micro-generator | 1 | 14.4 | 3.312
21-016-0017 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE Series | BluE-3KT-M1 | Micro-generator | 3 | 4.8 | 3.3255
21-016-0018 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE Series | BluE-4KT-M1 | Micro-generator | 3 | 6.4 | 4.4341
21-016-0019 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE Series | BluE-5KT-M1 | Micro-generator | 3 | 8 | 5.5426
21-016-0020 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE Series | BluE-6KT-M1 | Micro-generator | 3 | 9.6 | 6.6511
21-016-0021 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE Series | BluE-8KT-M1 | Micro-generator | 3 | 12.8 | 8.8681
21-016-0022 | 2024-11-29 |  | Shenzhen Kstar New Energy Company Limited | BluE Series | BluE-10KT-M1 | Micro-generator | 3 | 16 | 11.0851
24-002-0001 | 2024-11-29 |  | Shenzhen SOFARSOLAR Co., Ltd | PowerAll | ESI 3K-S1 | AC-connected batteries | 1 | 15 | 3.45
24-002-0002 | 2024-11-29 |  | Shenzhen SOFARSOLAR Co., Ltd | PowerAll | ESI 3.68K-S1 | AC-connected batteries | 1 | 16 | 3.68
24-002-0003 | 2024-11-29 |  | Shenzhen SOFARSOLAR Co., Ltd | PowerAll | ESI 4K-S1 | AC-connected batteries | 1 | 20 | 4.6
24-002-0004 | 2024-11-29 |  | Shenzhen SOFARSOLAR Co., Ltd | PowerAll | ESI 4.6K-S1 | AC-connected batteries | 1 | 20.9 | 4.807
24-002-0005 | 2024-11-29 |  | Shenzhen SOFARSOLAR Co., Ltd | PowerAll | ESI 5K-S1 | AC-connected batteries | 1 | 25 | 5.75
24-002-0006 | 2024-11-29 |  | Shenzhen SOFARSOLAR Co., Ltd | PowerAll | ESI 5K-S1-A | AC-connected batteries | 1 | 22.7 | 5.221
21-010-0001 | 2024-12-11 |  | Solar Edge Technologies | SolarEdge Single Phase Inverter - 2.2kW | SE2200H | Micro-generator | 1 | 10 | 2.3 | Main DSP 1.130 : Aux DSP 2.19
21-010-0002 | 2024-12-11 |  | Solar Edge Technologies | SolarEdge Single Phase Inverter - 3kW | SE3000H | Micro-generator | 1 | 14 | 3.22 | Main DSP 1.130 : Aux DSP 2.19
21-010-0003 | 2024-12-11 |  | Solar Edge Technologies | SolarEdge Single Phase Inverter - 3.5kW | SE3500H | Micro-generator | 1 | 16 | 3.68 | Main DSP 1.130 : Aux DSP 2.19
21-010-0004 | 2024-12-11 |  | Solar Edge Technologies | SolarEdge Single Phase Inverter - 3.68kW | SE3680H | Micro-generator | 1 | 16 | 3.68 | Main DSP 1.130 : Aux DSP 2.19
21-010-0005 | 2024-12-11 |  | Solar Edge Technologies | SolarEdge Single Phase Inverter - 4kW | SE4000H | Micro-generator | 1 | 18.5 | 4.26 | Main DSP 1.130 : Aux DSP 2.19
21-010-0006 | 2024-12-11 |  | Solar Edge Technologies | SolarEdge Single Phase Inverter - 5kW | SE5000H | Micro-generator | 1 | 23 | 5.29 | Main DSP 1.130 : Aux DSP 2.19
21-010-0007 | 2024-12-11 |  | Solar Edge Technologies | SE-3680H-NET-RWB | SE-3680H-NET-RWB | Micro-generator | 1 | 16 | 3.68
21-010-0008 | 2024-12-11 |  | Solar Edge Technologies | SE-4000H-NET-RWB | SE-4000H-NET-RWB | Micro-generator | 1 | 18.5 | 4.26
21-010-0009 | 2024-12-11 |  | Solar Edge Technologies | SE-5000H-NET-RWB | SE-5000H-NET-RWB | Micro-generator | 1 | 23 | 5.29
21-010-0010 | 2024-12-11 |  | Solar Edge Technologies | SE-5000-3PH-RWB | SE-5000-3PH-RWB | Micro-generator | 3 | 8 | 5.5426 | DSP 1.20
21-010-0011 | 2024-12-11 |  | Solar Edge Technologies | SE-10000-3PH-RWB | SE-10000-3PH-RWB | Micro-generator | 3 | 11.5 | 7.9674 | DSP 1.20
21-010-0012 | 2024-12-11 |  | Solar Edge Technologies | SolarEdge Three Phase Inverter - 7kW | SE7K | Micro-generator | 3 | 11.5 | 7.9674 | Main DSP 1.130 : Aux DSP 2.19
21-010-0013 | 2024-12-11 |  | Solar Edge Technologies | SolarEdge Three Phase Inverter - 9kW | SE9K | Micro-generator | 3 | 14.5 | 10.0459 | Main DSP 1.130 : Aux DSP 2.19
21-010-0014 | 2024-12-11 |  | Solar Edge Technologies | SolarEdge Three Phase Inverter - 10kW | SE10K | Micro-generator | 3 | 16 | 11.0851 | Main DSP 1.130 : Aux DSP 2.19
21-022-0001 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-HYBRID G4 | X3-Hybrid-5.0-D | Micro-generator | 3 | 8.1 | 5.6118 | DSP: 2.07; ARM: 2.03 | X1-HYBRID G4.0
21-022-0002 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-HYBRID G4 | X3-Hybrid-6.0-D | Micro-generator | 3 | 9.7 | 6.7204 | DSP: 2.07; ARM: 2.03 | X1-HYBRID G4.0
21-022-0003 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-HYBRID G4 | X3-Hybrid-8.0-D | Micro-generator | 3 | 12.9 | 8.9374 | DSP: 2.07; ARM: 2.03 | X1-HYBRID G4.0
21-022-0004 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-HYBRID G4 | X3-Hybrid-10.0-D | Micro-generator | 3 | 16.1 | 11.1544 | DSP: 2.07; ARM: 2.03 | X1-HYBRID G4.0
21-022-0005 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-HYBRID G4 | X3-Hybrid-5.0-M | Micro-generator | 3 | 8.1 | 5.6118 | DSP: 2.07; ARM: 2.03 | X1-HYBRID G4.0
21-022-0006 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-HYBRID G4 | X3-Hybrid-6.0-M | Micro-generator | 3 | 9.7 | 6.7204 | DSP: 2.07; ARM: 2.03 | X1-HYBRID G4.0
21-022-0007 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-HYBRID G4 | X3-Hybrid-8.0-M | Micro-generator | 3 | 12.9 | 8.9374 | DSP: 2.07; ARM: 2.03 | X1-HYBRID G4.0
21-022-0008 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-HYBRID G4 | X3-Hybrid-10.0-M | Micro-generator | 3 | 16.1 | 11.1544 | DSP: 2.07; ARM: 2.03 | X1-HYBRID G4.0
21-022-0009 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-Fit-6.0-W | X3-Fit-6.0-W | Micro-generator | 3 | 9.7 | 6.7204 | DSP: 2.07; ARM: 2.03 | X1-HYBRID G4.0
21-022-0010 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-Fit-8.0-W | X3-Fit-8.0-W | Micro-generator | 3 | 12.9 | 8.9374 | DSP: 2.07; ARM: 2.03 | X1-HYBRID G4.0
21-022-0011 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-Fit-10.0-W | X3-Fit-10.0-W | Micro-generator | 3 | 16.1 | 11.1544
21-022-0012 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-Fit-6.0-M | X3-Fit-6.0-M | Micro-generator | 3 | 9.7 | 6.7204
21-022-0013 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-Fit-8.0-M | X3-Fit-8.0-M | Micro-generator | 3 | 12.9 | 8.9374
21-022-0014 | 2024-12-09 |  | SolaX Power Network Technology Co., Ltd. | X3-Fit-10.0-M | X3-Fit-10.0-M | Micro-generator | 3 | 16.1 | 11.1544
21-022-0015 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-BOOST G4 | X1-BOOST-2.5K-G4 | Micro-generator | 1 | 12 | 2.76 | Master: 1.00, Manager: 1.00 | BOOST G4.0
21-022-0016 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-BOOST G4 | X1-BOOST-3K-G4 | Micro-generator | 1 | 14.4 | 3.312 | Master: 1.00, Manager: 1.00 | BOOST G4.0
21-022-0017 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-BOOST G4 | X1-BOOST-3.3K-G4 | Micro-generator | 1 | 15.8 | 3.634 | Master: 1.00, Manager: 1.00 | BOOST G4.0
21-022-0018 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-BOOST G4 | X1-BOOST-3.6K-G4 | Micro-generator | 1 | 17.6 | 4.048 | Master: 1.00, Manager: 1.00 | BOOST G4.0
21-022-0019 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-BOOST G4 | X1-BOOST-4.2K-G4 | Micro-generator | 1 | 20.1 | 4.623 | Master: 1.00, Manager: 1.00 | BOOST G4.0
21-022-0020 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-BOOST G4 | X1-BOOST-5K-G4 | Micro-generator | 1 | 21.7 | 4.991 | Master: 1.00, Manager: 1.00 | BOOST G4.0
24-022-0021 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-IES | X1-IES-2.5K | AC-connected batteries | 1 | 10.9 | 2.507 | DSP: 2.07; ARM: 2.03 | X1-IES G5.0
24-022-0022 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-IES | X1-IES-3K | AC-connected batteries | 1 | 14.4 | 3.312 | DSP: 2.07; ARM: 2.03 | X1-IES G5.0
24-022-0023 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-IES | X1-IES-3.7K | AC-connected batteries | 1 | 16 | 3.68 | DSP: 2.07; ARM: 2.03 | X1-IES G5.0
24-022-0024 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-IES | X1-IES-4.6K | AC-connected batteries | 1 | 20 | 4.6 | DSP: 2.07; ARM: 2.03 | X1-IES G5.0
24-022-0025 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-IES | X1-IES-5K | AC-connected batteries | 1 | 21.8 | 5.014 | DSP: 2.07; ARM: 2.03 | X1-IES G5.0
21-022-0026 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-0.6K-G4 | Micro-generator | 1 | 3 | 0.69 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-022-0027 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-0.7K-G4 | Micro-generator | 1 | 3.5 | 0.805 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-022-0028 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-0.8K-G4 | Micro-generator | 1 | 3.7 | 0.851 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-022-0029 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-1.1K-G4 | Micro-generator | 1 | 5.5 | 1.265 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-022-0030 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-1.5K-G4 | Micro-generator | 1 | 7.5 | 1.725 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-022-0031 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-2.0K-G4 | Micro-generator | 1 | 10 | 2.3 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-022-0032 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-2.5K-G4 | Micro-generator | 1 | 12.5 | 2.875 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-022-0033 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-3.0K-G4 | Micro-generator | 1 | 15 | 3.45 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-022-0034 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-3.3K-G4 | Micro-generator | 1 | 15 | 3.45 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-022-0035 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-3.7K-G4 | Micro-generator | 1 | 18.5 | 4.255 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-022-0036 | 2025-02-05 |  | SolaX Power Network Technology Co., Ltd. | X1-MINI-G4 | X1-MINI-4.0K-G4 | Micro-generator | 1 | 20 | 4.6 | Master: 1.00, Manager: 1.00 | MINI G4.0
21-003-0001 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-3K-48ES | RHI-3K-48ES | Micro-generator | 1 | 15.7 | 3.611
21-003-0002 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-3.6K-48ES | RHI-3.6K-48ES | Micro-generator | 1 | 17.3 | 3.979
21-003-0003 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-4.6K-48ES | RHI-4.6K-48ES | Micro-generator | 1 | 23 | 5.29
21-003-0004 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-5K-48ES | RHI-5K-48ES | Micro-generator | 1 | 23.9 | 5.497
21-003-0005 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-3K-48ES-5G | RHI-3K-48ES-5G | Micro-generator | 1 | 15.7 | 3.611
21-003-0006 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-3.6K-48ES-5G | RHI-3.6K-48ES-5G | Micro-generator | 1 | 17.3 | 3.979
21-003-0007 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-4.6K-48ES-5G | RHI-4.6K-48ES-5G | Micro-generator | 1 | 23 | 5.29
21-003-0008 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-5K-48ES-5G | RHI-5K-48ES-5G | Micro-generator | 1 | 23.9 | 5.497
21-003-0009 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-EH1P3K-L | S5-EH1P3K-L | Micro-generator | 1 | 14.5 | 3.335
21-003-0010 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-EH1P3.6K-L | S5-EH1P3.6K-L | Micro-generator | 1 | 17.5 | 4.025
21-003-0011 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-EH1P4.6K-L | S5-EH1P4.6K-L | Micro-generator | 1 | 20 | 4.6
21-003-0012 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-EH1P5K-L | S5-EH1P5K-L | Micro-generator | 1 | 24 | 5.52
21-003-0013 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | S6-EH3P3K-H-EU | S6-EH3P3K-H-EU | Micro-generator | 3 | 4.7 | 3.2563
21-003-0014 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | S6-EH3P4K-H-EU | S6-EH3P4K-H-EU | Micro-generator | 3 | 6.4 | 4.4341
21-003-0015 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | S6-EH3P5K-H-EU | S6-EH3P5K-H-EU | Micro-generator | 3 | 7.9 | 5.4733
21-003-0016 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | S6-EH3P6K-H-EU | S6-EH3P6K-H-EU | Micro-generator | 3 | 9.6 | 6.6511
21-003-0017 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | S6-EH3P8K-H-EU | S6-EH3P8K-H-EU | Micro-generator | 3 | 12.7 | 8.7988
21-003-0018 | 2024-12-09 |  | Solis (Ginlong Technologies Co., Ltd.) | S6-EH3P10K-H-EU | S6-EH3P10K-H-EU | Micro-generator | 3 | 15.8 | 10.9466
21-003-0019 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-3P3K-HVES-5G | RHI-3P3K-HVES-5G | Micro-generator | 3 | 5.1 | 3.5334 | A1
21-003-0020 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-3P5K-HVES-5G | RHI-3P5K-HVES-5G | Micro-generator | 3 | 6.8 | 4.7112 | A1
21-003-0021 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-3P8K-HVES-5G | RHI-3P8K-HVES-5G | Micro-generator | 3 | 8.4 | 5.8197 | A1
21-003-0022 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-3P4K-HVES-5G | RHI-3P4K-HVES-5G | Micro-generator | 3 | 10 | 6.9282 | A1
21-003-0023 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | RHI-3P6K-HVES-5G | RHI-3P6K-HVES-5G | Micro-generator | 3 | 13.4 | 9.2838 | A1
21-003-0024 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-1P2.5K-4G | Solis-1P2.5K-4G | Micro-generator | 1 | 13.3 | 3.059 | V2E
21-003-0025 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-1P3.6K-4G | Solis-1P3.6K-4G | Micro-generator | 1 | 16 | 3.68 | V2E
21-003-0026 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-1P4.6K-4G | Solis-1P4.6K-4G | Micro-generator | 1 | 23.8 | 5.474 | V2E
21-003-0027 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-1P3K-4G | Solis-1P3K-4G | Micro-generator | 1 | 15.7 | 3.611 | V2E
21-003-0028 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-1P4K-4G | Solis-1P4K-4G | Micro-generator | 1 | 21 | 4.83 | V2E
21-003-0029 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-1P5K-4G | Solis-1P5K-4G | Micro-generator | 1 | 25 | 5.75 | V2E
21-003-0030 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P2.5K | S5-GR1P2.5K | Micro-generator | 1 | 13.3 | 3.059 | V2E
21-003-0031 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P3.6K | S5-GR1P3.6K | Micro-generator | 1 | 16 | 3.68 | V2E
21-003-0032 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P4.6K | S5-GR1P4.6K | Micro-generator | 1 | 23.8 | 5.474 | V2E
21-003-0033 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P3K | S5-GR1P3K | Micro-generator | 1 | 15.7 | 3.611 | V2E
21-003-0034 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P4K | S5-GR1P4K | Micro-generator | 1 | 21 | 4.83 | V2E
21-003-0035 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P5K | S5-GR1P5K | Micro-generator | 1 | 25 | 5.75 | V2E
21-003-0036 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-mini-700-4G | Solis-mini-700-4G | Micro-generator | 1 | 4.4 | 1.012
21-003-0037 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-mini-1000-4G | Solis-mini-1000-4G | Micro-generator | 1 | 5.2 | 1.196
21-003-0038 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-mini-1500-4G | Solis-mini-1500-4G | Micro-generator | 1 | 8.1 | 1.863
21-003-0039 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-mini-2000-4G | Solis-mini-2000-4G | Micro-generator | 1 | 10.5 | 2.415
21-003-0040 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-mini-2500-4G | Solis-mini-2500-4G | Micro-generator | 1 | 13.3 | 3.059
21-003-0041 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-mini-3000-4G | Solis-mini-3000-4G | Micro-generator | 1 | 15.7 | 3.611
21-003-0042 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-mini-3600-4G | Solis-mini-3600-4G | Micro-generator | 1 | 16 | 3.68
21-003-0043 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P0.7K-M | S5-GR1P0.7K-M | Micro-generator | 1 | 4.4 | 1.012
21-003-0044 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P1K-M | S5-GR1P1K-M | Micro-generator | 1 | 5.2 | 1.196
21-003-0045 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P1.5K-M | S5-GR1P1.5K-M | Micro-generator | 1 | 8.1 | 1.863
21-003-0046 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P2K-M | S5-GR1P2K-M | Micro-generator | 1 | 10.5 | 2.415
21-003-0047 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P2.5K-M | S5-GR1P2.5K-M | Micro-generator | 1 | 13.3 | 3.059
21-003-0048 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P3K-M | S5-GR1P3K-M | Micro-generator | 1 | 15.7 | 3.611
21-003-0049 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR1P3.6K-M | S5-GR1P3.6K-M | Micro-generator | 1 | 16 | 3.68
21-003-0050 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-3P3K-4G | Solis-3P3K-4G | Micro-generator | 3 | 4.7 | 3.2563
21-003-0051 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-3P4K-4G | Solis-3P4K-4G | Micro-generator | 3 | 6.4 | 4.4341
21-003-0052 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-3P5K-4G | Solis-3P5K-4G | Micro-generator | 3 | 7.9 | 5.4733
21-003-0053 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-3P6K-4G | Solis-3P6K-4G | Micro-generator | 3 | 9.5 | 6.5818
21-003-0054 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-3P8K-4G | Solis-3P8K-4G | Micro-generator | 3 | 12.7 | 8.7988
21-003-0055 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-3P9K-4G | Solis-3P9K-4G | Micro-generator | 3 | 14.3 | 9.9073
21-003-0056 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | Solis-3P10K-4G | Solis-3P10K-4G | Micro-generator | 3 | 15.9 | 11.0158
21-003-0059 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR3P3K | S5-GR3P3K | Micro-generator | 3 | 4.7 | 3.2563
21-003-0060 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR3P4K | S5-GR3P4K | Micro-generator | 3 | 6.4 | 4.4341
21-003-0061 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR3P5K | S5-GR3P5K | Micro-generator | 3 | 7.9 | 5.4733
21-003-0062 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR3P6K | S5-GR3P6K | Micro-generator | 3 | 9.5 | 6.5818
21-003-0063 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR3P8K | S5-GR3P8K | Micro-generator | 3 | 12.7 | 8.7988
21-003-0064 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR3P9K | S5-GR3P9K | Micro-generator | 3 | 14.3 | 9.9073
21-003-0065 | 2024-12-13 |  | Solis (Ginlong Technologies Co., Ltd.) | S5-GR3P10K | S5-GR3P10K | Micro-generator | 3 | 15.9 | 11.0158
21-024-0001 | 2024-12-09 |  | Zhejiang Benyi New Energy Co.,Ltd. | BYM500 | BYM500 | Micro-generator | 1 | 2.27 | 0.5221 | V1.82 | V1.82
21-024-0002 | 2024-12-09 |  | Zhejiang Benyi New Energy Co.,Ltd. | BYM550 | BYM550 | Micro-generator | 1 | 2.5 | 0.575 | V1.82 | V1.82
21-024-0003 | 2024-12-09 |  | Zhejiang Benyi New Energy Co.,Ltd. | BYM600 | BYM600 | Micro-generator | 1 | 2.73 | 0.6279 | V1.82 | V1.82
21-024-0004 | 2024-12-09 |  | Zhejiang Benyi New Energy Co.,Ltd. | BYM800 | BYM800 | Micro-generator | 1 | 3.64 | 0.8372 | V4.05 | V4.05
21-024-0005 | 2024-12-09 |  | Zhejiang Benyi New Energy Co.,Ltd. | BYM1000 | BYM1000 | Micro-generator | 1 | 4.55 | 1.0465 | V4.05 | V4.05
21-024-0006 | 2024-12-09 |  | Zhejiang Benyi New Energy Co.,Ltd. | BYM1200 | BYM1200 | Micro-generator | 1 | 5.45 | 1.2535 | V4.05 | V4.05
21-024-0007 | 2024-12-09 |  | Zhejiang Benyi New Energy Co.,Ltd. | BYM2000 | BYM2000 | Micro-generator | 1 | 9.1 | 2.093 | V4.05 | V4.05
21-024-0008 | 2024-12-09 |  | Zhejiang Benyi New Energy Co.,Ltd. | BYM2400 | BYM2400 | Micro-generator | 1 | 11 | 2.53 | V4.05 | V4.05

## Export Limit Scheme
Product Information | Column B | Column C | Column D | Column E | Column F | Column G | Column H
LCT Register Reference Number | Date Submitted (DD/MM/YYYY) | Manufacturer | Model | Model Reference | Export Limiting Relay ? (Yes / No) | Software Version | Hardware Version
31-017-0001 | 2024-12-05 | Fronius | Smart Meter | TS 100A-1 | No
31-017-0002 | 2024-12-05 | Fronius | Smart Meter | UL 240 V-3 | No
31-017-0003 | 2024-12-05 | Fronius | Smart Meter | UL 480 V-3 | No
31-003-0001 | 2024-11-29 | Solis (Ginlong Technologies Co., Ltd.) | PV Inverter Energy Meter | ACR10R-D16TE | No
31-003-0002 | 2024-11-29 | Solis (Ginlong Technologies Co., Ltd.) | Smart meter | DTSD1352-C | No
31-003-0003 | 2024-11-29 | Solis (Ginlong Technologies Co., Ltd.) | Export power Manager | EPM1-5G | No | A2 | V1
31-003-0004 | 2024-11-29 | Solis (Ginlong Technologies Co., Ltd.) | Export power Manager | EPM3-5G | No | A2 | V1
31-003-0005 | 2024-11-29 | Solis (Ginlong Technologies Co., Ltd.) | Export power Manager | EPM3-5G-PLUS | No | A2 | V1
31-003-0006 | 2024-11-29 | Solis (Ginlong Technologies Co., Ltd.) | Export power Manager | EPM3-5G-PRO | No | A2 | V1
31-018-0001 | 2024-11-29 | SolPlanet | SolPlanet ELS System | SolPlanet ELS System | No

## Search Function (hidden)
|  | Generation Register | [5 empty] | Filter Models based on Manufacturer Name
Models
#VALUE!
Register Number | Manufacturer* | Model | Model Reference* |  | Rated Output AC Current (A) | Rated Output Power (kVA)
| ESBN |  | 80K-5G-PROT-3P-ESS-50-100
Connection Status
Date Submitted (DD/MM/YYYY) |  | #REF! |  |  |  |  | Red
For Connection Design Purposes |  |  |  | Phase
0
ELS Functionality? | #REF!
#REF! | #REF!
Amendments - Small scale should point towards Fault level calculator
Eliminate Null Entries
Connection stsatus is not working
This worksheet was created to assist ESBN Planners Filter through PGMs
*Enter Manufacturer and model reference of proposed equipment to return requirements of connection characteristics

## Fault Level Calculator (hidden)
Preparation Table
[8 empty] | Unique Make | Models | Fault Level Location_LV | Fault Level Location_HV
| Small Scale Generators Fault Level Calculator HV and LV | [6 empty] | #VALUE! | #VALUE! | 7 | 7
#VALUE!
Manufacturer (1) | Model Reference (1) | Connection Location | Number |  |  | Required Fault Level |  | #VALUE!
#VALUE!
ESBN | 80K-5G-PROT-3P-ESS-50-100 | LV | 4 |  |  |  |  | #VALUE!
#VALUE!
| Source Impedance | 0.15 | R | 0.15 | X | 0.21213 | Z | #VALUE!
#VALUE!
| Fault level | 0.75425 | MVA |  |  |  |  | #VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
#VALUE!
Notes; | [7 empty] | #VALUE!
(1) Enter make and model reference of proposed equipment to return requirements of connection characteristics | [7 empty] | #VALUE!
(2) Select Connection Location and No of Devices | [7 empty] | #VALUE!
(3) Enter source Impedance | [7 empty] | #VALUE!
#VALUE!
#VALUE!
#VALUE!